## Introduction
LED Lighting Calculator This lighting calculator tool allows businesses to estimate the energy and operation cost savings that could be achieved when replacing existing light fittings with an LED fittings. "Calculator Example" Tab illustrates a business replacing its existing lighting system of twin 26W CFLs with 15W LED tubes. "Calculator" Tab is the lighting calculator tool for you to use. Fill in the data required highlighted by the "GREEN" cells. Please take note of the associated notes. NOTE: This calculator will provide you with an estimate of potential savings based on the alternative bulbs listed here. For any retrofit we recommend that you get a minimum of three quotes from reputable LED suppliers. If you have any questions, please get in touch Safaa Al Tameemi - safaa.al-tameemi@ctc-cork.ie or Dr Colum Gibson oncolum.gibson@ctc-cork.ie

## Calculator Example
Example Calculator
Existing Fitting type | 2x26W CFL | Please choose from the drop down menu. If the existing fitting is not included in the list please go to the "LED Alternatives" sheet and insert the required information in the cells highlighted in green at the bottom of the table (other).
Number of fittings | 24 | Please insert the required data (cells highlighted in green)
Number of tubes per fitting | 2
Daytime electricity cost (€ /kWh) | 0.16
Night-time electricity cost (€ /kWh) | 0.08
Daytime hours of use | 15
Night-time hours of use | 2
Number of days a week | 7
Number of weeks a year | 50
New light fitting Proposed | LED 4 ft LED Tube 15W | Please choose from the drop down menu. You can check the list of alternative LED fittings and the estimated operation costs listed in the "LED Alternatives" sheet
Power consumption
| Existing Lighting | LED Replacement
Fitting watts (W) | 58 | 15
Ballast consumption (W) | 1.12
Total power consumption for all fittings (kW) | 3.1181 | 0.72
Total electricity consumption for all fittings on one day (kWh) | 53.0074 | 12.24
Annual electricity use (kWh) | 18552.576 | 4284
Annual electricity saving (kWh) | 14268.576
Operational cost (€)
| Existing Lighting | LED Replacement
Daily operation cost (€/Day) | 7.4834 | 1.728
Night operation cost (€/Night) | 0.49889 | 0.1152
Full day operation cost (€/24 hours) | 7.9823 | 1.8432
Annual operation cost (€/Year) | 2793.7997 | 645.12
Annual savings on running costs | 2148.6797
Payback Period (Years)
LED Replacement
Installation Cost(€) | 1728
Payback period (Years) | 1.2434
System lifespan
System operation lifespan (h) | 35000
Number of hours system operated annually (h/year) | 5950
System operation lifespan (Years) | 5.8824
| Existing Lighting | LED Replacement
Estimated lifetime (h) | 10000 | 35000
Number of replacement | 3.5 | 1
Unit purchasing cost per unit (€) | 6 | 36
System purchasing cost (€) | 1008 | 1728
Electricity Cost during system lifetime (€) | 16434.1158 | 3794.8235
Total cost (instal and lifetime operation) (€) | 17442.1158 | 5522.8235
Cost savings during system lifetime (€) | 11919.2922

## Calculator
Calculator
Existing Fitting type |  | Please choose from the drop down menu. If the existing fitting is not included in the list please go to the "LED Alternatives" sheet and insert the required information in the cells highlighted in green at the bottom of the table (other).
Number of fittings |  | Please insert the required data (cells highlighted in green)
Number of tubes per fitting
Daytime electricity cost (€ /kWh)
Night-time electricity cost (€ /kWh)
Daytime hours of use
Night-time hours of use
Number of days a week
Number of weeks a year
New light fitting Proposed |  |  | Please choose from the drop down manure. You can check the list of alternative LED fitting and the estimated operation cost listed in the "LED Alternatives" sheet
Power consumption
| Existing Lighting | LED Replacement
Fitting watts (W) | #N/A | #N/A
Ballast consumption (W) | 1.12
Total power consumption for all fittings (kW) | #N/A | #N/A
Total electricity consumption for all fittings on one day (kWh) | #N/A | #N/A
Annual electricity use (kWh) | #N/A | #N/A
Annual electricity saving (kWh) | #N/A
Operational cost (€)
| Existing Lighting | LED Replacement
Daily operation cost (€/Day) | #N/A | #N/A
Night operation cost (€/Night) | #N/A | #N/A
Full day operation cost (€/24 hours) | #N/A | #N/A
Annual operation cost (€/Year) | #N/A | #N/A
Annual savings on running costs | #N/A
Payback Period (Years)
LED Replacement
Installation Cost(€) | #N/A
Payback period (Years) | #N/A
System lifespan
System operation lifespan (h) | 35000
Number of hours system operated annually (h/year) | 0
System operation lifespan (Years) | #DIV/0!
| Existing Lighting | LED Replacement
Estimated lifetime (h) | 10000 | 35000
Number of replacement | 3.5 | 1
Unit purchasing cost per unit (€) | #N/A | #N/A
System purchasing cost (€) | #N/A | #N/A
Electricity Cost during system lifetime (€) | #DIV/0! | #DIV/0!
Total cost (instal and lifetime operation) (€) | #N/A | #N/A
Cost savings during system lifetime (€) | #N/A

## LED Alternatives
Daytime electricity cost (€ /kWh) | 0.16
Night-time electricity cost (€ /kWh) | 0.08 |  |  | LED Alternatives
Daytime hours of use | 15
Night-time hours of use | 2
Number of days a week | 7
Number of weeks a year | 50
Existing Light Fitting | Light Fitting | Wattage | Total Wattage Used | Purchase Cost per Fitting | Annual Running Cost | New Light Fitting Proposed | Total Wattage | Total Wattages Used | Annual Running Cost | Purchase Cost per Fitting | % of Wattage Difference
| 2x26W CFL | 26W | 58 | 6 | 51.968 | LED 20W Downlight | 20 | 20 | 17.92 | 69 | 65.52% | 1 | 1 | 1
| 28W 2D | 28W | 34 | 6 | 30.464 | LED Ceiling mounted | 13 | 13 | 11.648 | 79 | 61.76% | 2 | 2 | 2
| 2ft fluorescent 18W | 18 | 34 | 6 | 30.464 |  |  |  | 0
| 4 ft fluorescent 36W | 36W | 44 | 6 | 39.424 | LED 4 ft LED Tube 15W | 15 | 15 | 13.44 | 36 | 65.91%
| 5 ft fluorescent 58W | 58 | 65 | 6 | 58.24 | LED 5 ft LED Tube 23W | 23 | 23 | 20.608 | 36 | 64.62%
| 400W Highbay | 400W | 438 | 6 | 392.448 | LED 150W Highbay | 150 | 150 | 134.4 | 370 | 65.75%
| 400W Floodlights | 400W | 438 | 6 | 392.448 | LED 150W floodlights | 150 | 150 | 134.4 | 370 | 65.75%
| 70W Sonto 10W LED | 70W | 88 | 6 | 78.848 | LED 2 ft LED 12W Lamp | 12 | 12 | 10.752 | 39 | 86.36%
| 70W | 70W | 88 | 6 | 78.848 | LED CREE XSP1 | 30 | 30 | 26.88 | 360 | 65.91%
| Quad 4 ft 36W | 36W | 176 | 6 | 157.696 | LED 1200x600mm Panel 70W | 70 | 70 | 62.72 | 202 | 60.23%
| Quad 2 ft 18W | 18W | 136 | 6 | 121.856 | LED 600x600mm Panel 32W | 32 | 32 | 28.672 | 109 | 76.47%
Other (Please insert the required data) |  |  |  |  | 0 |  |  |  | 0 |  | #DIV/0!
67.83%