## Introduction
Maximum Import Capacity (MIC): Maximum Import Capacity (MIC) is the upper limit on the total electrical demand you can place on the network system, so it should be high enough to meet the requirements of your business. (Electric Ireland) This tool allows you to calculate the right MIC value for your premises, and calculate the cost saving if • The MIC is too high, and you may be paying for more capacity than you actually require. • The MIC is too low, and you may be paying for an excess capacity charge MIC Calculator Example- This is an example of how you can use this tool and the required data. It illustrates if the MIC is too high or the MIC is too low. MIC Calculator- This is where you can insert your own data and check if you have a MIC excess charge and what is the best alternatives MIC limit

## MIC Calculator Example
MIC Calculator Examples
Scenario 1 MIC is too high |  |  |  |  | Scenario 2 MIC is too low
| The data below can be found in your electricity bills or in your utility providor contract |  |  |  |  | The data below can be found in your electricity bills or in your utility providor contract
| Current MIC (kVA) | 400 |  |  |  | Current MIC (kVA) | 200
| DUoS Capacity Charge | 2.7 |  |  |  | DUoS Capacity Charge | 2.7
| PSO Levy Charge | 1.22 |  |  |  | PSO Levy Charge | 1.22
| MIC Surcharge | 14.5 |  |  |  | MIC Surcharge | 14.5
| Month | 15 min MIC (kVA) | Excess kVA | MIC |  | Month | 15 min MIC (kVA) | Excess kVA | MIC
| Jan | 180 |  | 400 |  | Jan | 180 |  | 200
| Feb | 140 |  | 400 |  | Feb | 140 |  | 200
| Mar | 190 |  | 400 |  | Mar | 220 | 20 | 200
| Apr | 200 |  | 400 |  | Apr | 210 | 10 | 200
| May | 230 |  | 400 |  | May | 230 | 30 | 200
| Jun | 250 |  | 400 |  | Jun | 250 | 50 | 200
| Jul | 222 |  | 400 |  | Jul | 222 | 22 | 200
| Aug | 240 |  | 400 |  | Aug | 240 | 40 | 200
| Sep | 200 |  | 400 |  | Sep | 200 |  | 200
| Oct | 190 |  | 400 |  | Oct | 190 |  | 200
| Nov | 180 |  | 400 |  | Nov | 180 |  | 200
| Dec | 190 |  | 400 |  | Dec | 190 |  | 200
| Total Excess kVA |  | 0 |  |  | Total Excess kVA |  | 172
| With no MIC Excess |  |  |  |  | With no MIC Excess | 200
| Monthly MIC Charge | 1568 |  |  |  | Monthly MIC Charge | 784
| Annual MIC Charge | 18816 |  |  |  | Annual MIC Charge | 9408
| Current MIC Excess | 400 |  |  |  | Current MIC Excess
| Annual Excess MIC Charge (€) | 0 |  |  |  | Annual Excess MIC Charge (€) | 2494
| Total Annual MIC Cost | 18816 |  |  |  | Total Annual MIC Cost | 11902
| Alternative 1 MIC | 220 |  |  |  | Alternative 1 MIC | 220
| Monthly MIC Charge | 862.4 |  |  |  | Monthly MIC Charge | 862.4
| Annual Charge | 10348.8 |  |  |  | Annual Charge | 10348.8
| Annual Excess MIC Charge (€) | 899 |  |  |  | Annual Excess MIC Charge (€) | 899
| Total Annual MIC Cost | 11247.8 |  |  |  | Total Annual MIC Cost | 11247.8
| Saving | 7568.2 |  |  |  | Saving | 654.2
| Alternative 2 MIC | 250 |  |  |  | Alternative 2 MIC | 250
| Monthly MIC Charge | 980 |  |  |  | Monthly MIC Charge | 980
| Annual Charge | 11760 |  |  |  | Annual Charge | 11760
| Annual Excess MIC Charge (€) | 0 |  |  |  | Annual Excess MIC Charge (€) | 0
| Total Annual MIC Cost | 11760 |  |  |  | Total Annual MIC Cost | 11760
| Saving | 7056 |  |  |  | Saving | 142

## MIC Calculator
MIC Calculator
The data below can be found in your electricity bills or in your utility providor contract
Current MIC (kVA)
DUoS Capacity Charge
PSO Levy Charge
MIC Surcharge
Month | 15 min MIC (kVA) | Excess kVA | MIC
Jan |  |  | 0
Feb |  |  | 0
Mar |  |  | 0
Apr |  |  | 0
May |  |  | 0
Jun |  |  | 0
Jul |  |  | 0
Aug |  |  | 0
Sep |  |  | 0
Oct |  |  | 0
Nov |  |  | 0
Dec |  |  | 0
Total Excess kVA |  | 0
With no MIC Excess | 0
Monthly MIC Charge | 0
Annual MIC Charge | 0
Current MIC Excess
Annual Excess MIC Charge (€) | 0
Total Annual MIC Cost | 0
Alternative 1 MIC
Monthly MIC Charge | 0
Annual Charge | 0
Annual Excess MIC Charge (€) | 0
Total Annual MIC Cost | 0
Saving | 0
Alternative 2 MIC
Monthly MIC Charge | 0
Annual Charge | 0
Annual Excess MIC Charge (€) | 0
Total Annual MIC Cost | 0
Saving | 0

## Sheet1 (hidden)
Alternative 1 MIC |  |  | Alternative 2 MIC
Month | 15 min MIC (kVA) | Excess kVA | Month | 15 min MIC (kVA) | Excess kVA
Jan | 0 |  | Jan | 0
Feb | 0 |  | Feb | 0
Mar | 0 |  | Mar | 0
Apr | 0 |  | Apr | 0
May | 0 |  | May | 0
Jun | 0 |  | Jun | 0
Jul | 0 |  | Jul | 0
Aug | 0 |  | Aug | 0
Sep | 0 |  | Sep | 0
Oct | 0 |  | Oct | 0
Nov | 0 |  | Nov | 0
Dec | 0 |  | Dec | 0
Total Excess kVA |  | 0 | Total Excess kVA |  | 0
Alternative 1 MIC |  |  | Alternative 2 MIC |  |  | Alternative 1 MIC |  |  | Alternative 2 MIC
Month | 15 min MIC (kVA) | Excess kVA | Month | 15 min MIC (kVA) | Excess kVA | Month | 15 min MIC (kVA) | Excess kVA | Month | 15 min MIC (kVA) | Excess kVA
Jan | 180 |  | Jan | 180 |  | Jan | 180 |  | Jan | 180
Feb | 140 |  | Feb | 140 |  | Feb | 140 |  | Feb | 140
Mar | 190 |  | Mar | 190 |  | Mar | 190 |  | Mar | 190
Apr | 200 |  | Apr | 200 |  | Apr | 200 |  | Apr | 200
May | 230 | 10 | May | 230 |  | May | 230 | 10 | May | 230
Jun | 250 | 30 | Jun | 250 |  | Jun | 250 | 30 | Jun | 250
Jul | 222 | 2 | Jul | 222 |  | Jul | 222 | 2 | Jul | 222
Aug | 240 | 20 | Aug | 240 |  | Aug | 240 | 20 | Aug | 240
Sep | 200 |  | Sep | 200 |  | Sep | 200 |  | Sep | 200
Oct | 190 |  | Oct | 190 |  | Oct | 190 |  | Oct | 190
Nov | 180 |  | Nov | 180 |  | Nov | 180 |  | Nov | 180
Dec | 190 |  | Dec | 190 |  | Dec | 190 |  | Dec | 190
Total Excess kVA |  | 62 | Total Excess kVA |  | 0 | Total Excess kVA |  | 62 | Total Excess kVA |  | 0